# Emergency Response Checklist

# Outdoor area

| What to check | Things to look for | Check | Damage noted |
| --- | --- | --- | --- |
| Wiring | Exposed, protruding live electrical wires | ☐ |  |
| Water pipes | Damage, leaks or breaks in pipes | ☐ |  |
| Sewerage systems | Damage, leaks or breaks in pipes | ☐ |  |
| Land | Subsidence, unusual cracks, holes or soil liquefaction (muddy, sandy appearance) | ☐ |  |
| Swimming pools | Cracks, leaks, chemical storage, chemical spills | ☐ |  |
| Trees | Unstable or fallen trees, broken branches | ☐ |  |
| Fencing, gates, access ways | Sharp protrusions, gaps allowing unsafe egress, blocked entrances | ☐ |  |
| Playground equipment | Structural soundness, sharp protrusions | ☐ |  |
| Debris | Obstructions, contamination, unsafe protrusions | ☐ |  |
| Gas pipes | Smell indicating broken pipes | ☐ |  |

# Buildings interior and exterior

| What to check | Things to look for | Check | Damage noted |
| --- | --- | --- | --- |
| Roofs | Holes, loose tiles/sheeting, broken chimney | ☐ |  |
| Walls | Structural cracking, collapse | ☐ |  |
| Door frames and windows | Warping, non-closing, broken glass | ☐ |  |
| Equipment in technology rooms | Hazardous material spills, unstable machinery / equipment, leaking Bunsen burners (smell) | ☐ |  |
| Cupboards | Whether they are likely to come down and whether contents have moved | ☐ |  |
| Fluorescent lights | Broken lights (can release small amounts of mercury into the air; less than in a mercury thermometer but need safe clean up and disposal | ☐ |  |

# Infrastructure systems

| What to check | Things to look for | Check | Damage noted |
| --- | --- | --- | --- |
| Service systems | If you see/suspect damage, get a qualified tradesperson to investigate | ☐ |  |
| Water pipes | Leaks or breaks in pipes, contamination of water supply - check your local council website for information on water supply and contamination | ☐ |  |
| Sewerage systems | Sewage overflow | ☐ |  |
| Gas pipes | Smell indicating gas leaks | ☐ |  |
| Power supplies / wiring | Exposed live wiring, broken switchboards | ☐ |  |
| Mechanical systems (e.g. fire alarms, automatic doors and windows, lifts, air conditioning and ventilation, fume cupboards, backflow preventers, heat pumps, extraction systems) | Whether systems are operating correctly | ☐ |  |
| Boilers | Fractures in the water pipes, leaking water, detached chimney, boiler moved. Note: Don’t turn the heating on until the boiler has been confirmed as safe by an approved boiler maintenance person. | ☐ |  |
| Computer networks including servers, routers, switches and other core systems | Whether systems are operating correctly, damage through sudden power loss; whether they have shifted off bases. Note: Check with your ICT support staff before turning your computer systems on. Bring systems on systematically over several hours. | ☐ |  |